UAT plan — all 15 existing Work Orders

| WO | Main scenario | Important UAT you should perform | Missing Tests | Status |  |
| --- | --- | --- | --- | --- | --- |
| 001 | Chilled-water pump trip — Critical | Verify critical response, assignment to Technician, acceptance, LOTO/safety evidence, start work, photos/evidence, labour/cost, completion, supervisor verification and closure. Also try completing without mandatory evidence and confirm rejection. | No Layout No costing (Note- layout did not incdicate a chiller plant room) | Critical Closed |  |
| 002 | Quarterly AHU PM | Verify PM-generated WO, scheduled/due dates, AHU asset linkage, checklist/work readings, Technician execution, completion evidence and PM outcome. Ensure the WO cannot incorrectly bypass required PM steps. | No Layout No costing (Note- layout did not incdicate a chiller plant room) | Medium Approved |  |
| 003 | DB thermal hotspot — High | Verify electrical/LOTO controls, thermal evidence, isolation/work records, completion and verification. Confirm closed WO cannot subsequently be altered by Technician. |  | High Closed |  |
| 004 | Smoke detector fault | Verify external vendor workflow, vendor + Technician/assignment presentation, fire-system evidence, contractor quotation/rates/costs, completion and verification. Test access restrictions for users outside the facility. |  | High Closed |  |
| 005 | Wash-basin leak — Low | Test normal low-priority reactive flow end-to-end: submit → approve → assign → accept → start → evidence → complete → verify → close. This is the clean baseline workflow. |  | Low Waiting Approval |  |
| 006 | Passenger lift breakdown — Critical | Verify critical vendor-dependent response, lift isolation/safety information, vendor assignment, contractor quotation/cost, completion evidence, verification and closure. Confirm unauthorized users cannot close it. |  | Critical Closed |  |
| 007 | Solar inverter communication alarm | Verify condition-based/controls fault, asset link, medium priority, assignment, diagnostic evidence and normal completion. Confirm source/reference information survives lifecycle changes. |  | Medium Waiting Approval |  |
| 008 | Generator monthly test | Already represents successful completion. Verify readings/evidence, actual labour and cost, completion result and audit trail. Then verify completed ≠ closed until authorized verification/closure occurs. Dataset specifically includes estimated vs actual duration/cost. |  | Medium Completed Awaiting Review |  |
| 009 | Exhaust fan — overdue | Verify due-date/SLA overdue calculation, dashboard warning/escalation and filtering. Confirm cancelled/closed handling stops inappropriate active SLA behaviour. The original scenario specifically tests overdue calculations and escalation. |  | Medium Cancelled |  |
| 010 | Transformer oil leak — High-value | Verify approval-before-work, quotation/cost information, authorization segregation and audit. Attempt execution before approval and confirm it is blocked. Original estimated cost was S$4,500 and specifically intended to exercise approval workflow. |  | High Waiting Approval |  |
| 011 | Cooling-tower bearing / parts unavailable | Verify assigned → hold/parts dependency → resume → execution. Confirm hold reason/history is retained and SLA treatment is correct. Original UAT purpose is parts dependency, inventory linkage and On-Hold handling. |  | High Assigned |  |
| 012 | Roller shutter — failed repair | This is the key rejection/reopen test. Complete the WO, submit evidence, have FM verifier reject it, confirm reason recorded, status returns to actionable state, contractor can rectify and resubmit, then verify/close. |  | Medium In Progress |  |
| 013 | Damaged socket — Critical safety hazard | Verify immediate isolation/risk control, Critical priority, electrical safety evidence, drawing/location marker where configured, Technician execution and closure authority. The test data specifically requires socket isolation and warning identification. |  | Critical Closed |  |
| 014 | FCU abnormal noise — No Fault Found | Verify inspection can legitimately end without repair/replacement, require findings/evidence, select No Fault Found, verify/close, and preserve the user's original complaint. |  | Low Closed |  |
| 015 | Pump motor replacement — major repair | Full high-value governance test: management approval → contractor quotation/rate → authorization → assignment → execution → actual labour/cost → evidence → verification → closure. Attempt work before approval and confirm rejection. Original estimated value is S$18,500 and explicitly requires management approval. |  | High Waiting Approval |  |