New Work Order for UAT – 23 September 2026

Yes. For the next FMWorks UAT round, I suggest preparing 15 new Work Orders covering different facility assets and maintenance situations. These should be realistic enough for the Duty Technician to assess, photograph, recommend a contractor where necessary, and prepare a costing proposal.

Important test boundary: Create and submit each Work Order only. Do not assign a contractor, enter a quotation, upload “Before” evidence, approve expenditure, start work, or complete the Work Order on behalf of the Duty Technician. Those activities are what we want to test next.

Proposed Work Orders for the next UAT round

The descriptions below are simulated defects for testing, not confirmed conditions at the actual facility.

| Test ID | Facility asset | Location | Work Order title | Reported problem / requested work | Priority |
| --- | --- | --- | --- | --- | --- |
| WO-UAT-016 | Roller shutter | Main Building – Warehouse Loading Bay | Roller Shutter Intermittent Operation | Shutter reportedly stops midway during opening and requires repeated operation. Inspect and propose corrective work. | High |
| WO-UAT-017 | Dock leveller | Warehouse Loading Dock | Dock Leveller Hydraulic Oil Leakage | Oil traces reportedly observed beneath the dock leveller. Inspect hydraulic components and propose repair. | High |
| WO-UAT-018 | Air-conditioning system | Main Building – Office Area | Office Air-Conditioning Not Cooling Adequately | Occupants report insufficient cooling during normal operating hours. Investigate and recommend corrective action. | Medium |
| WO-UAT-019 | Lighting | Warehouse – Storage Aisle | Warehouse Lighting Failure | Several overhead light fittings reportedly fail to illuminate, reducing visibility in the aisle. | Medium |
| WO-UAT-020 | Electrical distribution board | Utility Block – Electrical Switch Room | Distribution Board Abnormal Noise | A humming or rattling sound has reportedly been noticed near an electrical distribution board. Arrange competent assessment. | High |
| WO-UAT-021 | Water supply piping | Main Building – Ground Floor Toilet | Water Leakage Beneath Wash Basin | Water reportedly accumulates below the wash basin after use. Inspect pipework and fittings. | Medium |
| WO-UAT-022 | Sanitary drainage | Main Building – Ground Floor Toilet | Slow Drainage at Floor Trap | Floor trap reportedly drains slowly and occasionally produces an unpleasant odour. | Medium |
| WO-UAT-023 | Fire door | Main Building – Staircase Entrance | Fire Door Fails to Self-Close | Fire-rated door reportedly remains partially open after release. Inspect closer, hinges and latch. | High |
| WO-UAT-024 | Fire hydrant | External Perimeter Road | Fire Hydrant Cabinet Damaged | External hydrant cabinet reportedly has a damaged door and deteriorated fittings. Inspect and propose rectification. | High |
| WO-UAT-025 | Passenger lift | Main Building – Lift Lobby | Lift Door Closing Irregularly | Lift doors reportedly reopen repeatedly before closing. Refer to the authorised lift maintenance contractor. | High |
| WO-UAT-026 | Roof drainage | Main Building – Roof | Roof Drainage Outlet Blockage | Ponding reportedly occurs near a roof drainage outlet after rainfall. Inspect drainage condition and propose clearing or repair. | Medium |
| WO-UAT-027 | Solar PV system | Utility Block – Roof | Solar Panel Mounting Inspection | A mounting component reportedly appears loose following heavy weather. Arrange inspection by a competent contractor. | High |
| WO-UAT-028 | Car park canopy | External Car Park | Canopy Roof Panel Damage | A canopy roof panel reportedly appears cracked or displaced. Assess condition and propose replacement. | Medium |
| WO-UAT-029 | Perimeter fencing | Site Boundary – South-West | Perimeter Fence Damage | A section of perimeter fence reportedly has loose mesh or damaged posts. Inspect and propose repair. | Medium |
| WO-UAT-030 | Access control system | Main Building – Pedestrian Entrance | Access Door Reader Intermittent Failure | Staff report that the access reader occasionally fails to recognise valid credentials. Investigate and propose corrective action. | Medium |

Required status after preparation

For each of these 15 Work Orders, the expected UAT starting condition is:

| Field / activity | Required condition |
| --- | --- |
| Work Order record | Created and submitted |
| Asset and location | Populated |
| Problem description | Populated using the proposed test scenario |
| Priority | Populated |
| Duty Technician | Available for assignment or assigned to Yang, according to the configured submission workflow |
| “Before” photographs or video | Not yet uploaded |
| Technician inspection findings | Blank |
| Contractor recommendation | Blank |
| Quotation / costing proposal | Not yet submitted |
| Expenditure approval | Not yet given |
| Work commencement | Not started |
| Completion and payment | Not started |

UAT objective: When Yang opens these submitted Work Orders, he should be able to inspect the asset, record the actual “Before” situation, attach supporting evidence, enter his findings, and initiate the appropriate quotation or costing process.

This set also allows us to test different contractor disciplines, priorities, asset locations, and approval scenarios without reusing the earlier WO-TEST-001–015 records.